DRINKING WATER WARNING – BOIL WATER ADVISORY – PRESSURE LOSS

The Green Tank Water System, ID# 29950K, located in Walla Walla County, may be contaminated because of a pressure loss event. This occurred at approximately at 11:20 on May 17th 2023.

DO NOT DRINK THE WATER WITHOUT BOILING IT FIRST.  Bring all water to a rolling boil for one minute, and let it cool before using.  Boiled tap water or purchased bottled water should be used for drinking, making ice, brushing teeth, washing dishes, and food preparation until further notice.  Boiling kills bacteria and other organisms in the water.

When a pressure loss event occurs, it is possible that contamination from the environment or from human or animal waste may be drawn into the water system.  Microbes in these wastes can cause short-term effects, such as diarrhea, cramps, nausea, headaches, or other symptoms.  They may pose a special health risk for infants, young children, some of the elderly, and people with severely compromised immune systems.  These symptoms are not only caused by organisms in drinking water.  If you experience any of these symptoms and they persist, you may want to seek medical advice.  People at increased risk should seek advice about drinking water from their health care provider.

What happened?  What is the suspected or known source of contamination?

An emergency developed requiring the well to be shut down due to a water tie-in on Wallula Ave.

The following is being done to correct the problem:

As soon as the tie-in is complete, we will restart the well. HOWEVER, you need to boil water until we are able to verify the safety of the drinking water. It will be fine for flushing toilets.

What should consumers do?

- Boil your tap water intended for human consumption (i.e. drinking, cooking, food preparation, ice making, oral hygiene) at a rolling boil for 1 minute

We have consulted with the Washington State Department of Health about this incident.  We will notify you when you no longer need to boil the water.  For more information, please contact Curt at (509) 526-9287

Please share this notice with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses).  You can do this by posting this notice in a public place or distribution copies by hand or mail.

This notice is sent to you by Green Tank Irrigation District #11 on May 17th, 2023.